## Slide 1: Design and Implementation of DWT for EEG Signal on FPGA
Authors: Rifa Tamanna, Nazifa Tabassum, Sheikh Md Rabiul Islam
Source:2018 4th International Conference on Electrical Engineering and Information & Communication Technology (iCEEiCT)
Presented by-
Progga Labani Howlader
Roll: 1509035

## Slide 3: Overview
Background
Introduction
Methodology
Experimental observation
Result analysis
Conclusion

## Slide 4: Background
Figure1:Normal EEG signal
Figure2:EEG signal with noise
EEG:
-technique of monitoring
human brain activity
- by electrical mean.
vital role
-in mental diseases
treatment.
Different system barrier and noise are included.

## Slide 5: Introduction
Figure3:EEG signal recording Figure4:EEG signal analysis
FIR filter:
- DWT based folded
-used to analysis this signal
-reduces complexity and time
FPGA process:
-to convert software design to hardware
Verilog HDL code:
- use simulation purpose

## Slide 6: Methodology
A. Database:
The input EEG data is collected from BME signal processing lab.
B. Proposed filter design architecture:
Figure 5: DWT based filter design architecture.

## Slide 7: Methodology(cont..)
Figure 6: Filter design flowchart for proposed prototype.

## Slide 8: Methodology(cont..)
This proposed prototype perform 2 operations for each step
1.Low-pass filter construction :
The filter equation:

## Slide 9: Methodology(cont..)
Table 1: Table containing folded coefficients up to step 3.
Figure 7: Folded coefficients up to low-pass filtering step 3.

## Slide 10: Methodology(cont..)
Figure 8: Magnitude response of designed low-pass filter.
Figure 9: Phase response of designed low-pass filter.

## Slide 11: Methodology(cont..)
2.Down-sampling:
The process of lowering sampling rate or sample size.
The samples are compressed in each stage.
Thus the desired processed EEG data is obtained.

## Slide 12: Experimental observation
A. Schematic diagram for the proposed prototype:
Figure 10: Schematic diagram of the proposed prototype.

## Slide 13: Experimental observation(cont…)
B. RTL diagram of the proposed prototype:
Figure 11: Overall RTL diagram of the proposed prototype.

## Slide 14: Experimental observation(cont…)
Figure 8: EEG input and delayed input from RTL block.
Figure 12: Step1 filtered output from RTL block.

## Slide 15: Experimental observation(cont…)
Table 2: Advanced HDL synthesis report.

## Slide 16: Experimental observation(cont…)
Table 3: Power analyzer report
c. Timing diagram analysis:
Figure 13: Timing diagram of the proposed prototype.

## Slide 17: Result analysis
Table 4: EEG samples and corresponding filtered output

## Slide 18: Result analysis(cont…)
Figure 14: Graph containing EEG samples and filtered output

## Slide 19: Conclusion
Easy and simple approach for EEG signal analysis.
Entire filter output performs de-noising and amplification without causing distortion of the EEG signal.
Good resolution is obtained in this process.
Using Verilog code and timing diagram of Xilinx ISE software , this work is designed.

## Slide 20: References
[1] N.Tabassum , S. M.R Islam, “Implementation of Biochip on Multirate System for EEG signal on ALTERA Cyclone Device”, 3rd International Conference on Electrical Information and Communication Technology (EICT), 7-9 December 2017, Khulna, Bangladesh
[2] A.G.Reddy, S. Narava, “Artifact Removal from EEG Signals”, International journal of computer application(0975-8887),volume 77-No.13, September 2013.
[3] H. K.Sawant and Z. Jalali, “Detection and classification of EEG waves”, Orient Journal of Computer Science & Technology, vol.3(1), 207-213 (June 4, 2010).
[4] A. Procházka and J. Kukal, O. Vyšata, “Wavelet Transform Use for Feature Extraction and EEG Signal Segments Classification”, Conference: Conference: Communications, Control and Signal Processing, 2008. ISCCSP 2008.
[5] Hannu Olkkonen, “Discrete Wavelet Transform-Biomedical Applications”, ISBN 978-953-307-654-6, publisher: InTech, Chapter published September 12,2011.
[6] P. M. Wai, Y. Zheng, Z, Zhao, “A 0.18-μm CMOS Multirate Filter Bank ASIC for Biomedical Applications ”, 2007 IEEE International Symposium on Integrated Circuits(ISIC 2007).
[7] C. Chou, S. Mohanakrishnan, and J. B. Evans, “FPGA Implementation of Digital Filters”, Proc. Int. Conf. Signal Proc. Appl. & Tech. (ICSPAT’93),1993.